## Slide 1
Outline
The US Environmental Protection Agency developed a method for the analysis of Semivolatiles using gas chromatography. This allows the determination of on-column amounts of target compounds to be detected at orders of magnitude lower concentrations than conventional single quadrupole mass spectrometers. New column requirements include enhanced robustness, thermal stability, improved PAH selectivity and extended lifetime following highly contaminated extracts.
This presentation will show the dynamic range of this column type with smaller internal diameters in the analysis of semivolatiles and polyaromatic hydrocarbons.
Semi-Volatile Analysis
Enhanced SVOC Performance
Surface Deactivation
Polyimide
New Surface Deactivation:
Improved Inertness
Enhanced Ruggedness
New Polymer:
Optimized PAH Selectivity
Increased Thermal Stability
New Manufacturing Process:
Fused Silica • Consistant Product Performance
Polymer
Average %RSDs for 6 Rxi-SVOCms columns (16623) calibrated from 1 ng/µL to 120 ng/µL
Benzoic Acid is the only compound > 20% RSD
Inertness = Linear Calibrations
0.032 ng 8270 MegaMix on the
Rxi-SVOCms 20 m x 0.15 mm x 0.15 µm
New Polymer
Optimized PAH Selectivity
Fast GC Method Translation Preserves Elution Profiles
Exploring a New Capillary Gas Chromatography Column in the Analysis of Semivolatiles and Polyaromatic Hydrocarbons
Jessi Collier, Jana Hepner, Erica Pack, Ramkumar Dhandapani, Kristi Sellers, Whitney Dudek-Salisbury, Scott Adams, Jaap de Zeeuw, & Chris English
Restek Corporation, 110 Benner Circle, Bellefonte, PA 16823, United States
4.00
4.50
5.00
5.50
6.00
6.50
7.00
7.50
8.00
8.50
9.00
Ion 276.00
Ion 278.00
Ion 252.00
Ion 228.00
Ion 265.80
Ion 184.00
Pentachlorophenol
Benzidine
Benz[a]anthracene
Chrysene
Benzo[b]fluoranthene
Benzo[k]fluoranthene
Valley = 60.24%
Valley = 77.7%
Dibenz[ah]anthracene
Indeno[123-cd]pyrene
4.00
6.00
8.00
10.00
12.00
14.00
16.00
18.00
20.00
22.00
24.00
26.00
28.00
30.00
32.00
1
2
3
4
5
6
7
8
9
10
11
12
13
14,15
16
17
18
19
21
22
20
23,24
25,26,27
28,29
30,31
32
33
34
35
36
37
38,39
40
41
43
42
44,45
45,46
47
48,49
50
54
51,52,53
55
63
56
57
58,59
60
61,62
64
65
66
67
68,69
70
71
72
73
74
75
76
77
78,79
80
81
83
82
84,85
87
86
88
89
90
91,92,93,94
95
96
97
98
99
100,101,102
103
104
105
106
107,108,109
110
111
112,113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136,137
138
139,140
141
142
143,144
145
146
147
148
149
150
151
152